## REPORT
AIR QUALITY MEASUREMENT REPORT
TASK T2.4 Air quality monitoring in pilot buildings.
1. General information about the task
The purpose of this task was to carry out air quality measurements in all 5 pilot sites regions, where 6 buildings were chosen for this purpose.
2. Description of the pliot sites
Project partner: | Mazowiecka Agencja Energetyczna (MAE)
Associated partner: | Spółdzielnia Mieszkaniowa Marysin Wawerski
Referential buildings | Adresses of the referential buildings: | Is the building renovated?
Building 1 |  | renovated
Building 2
Building 3
Building 4
Building 5
Building 6
3. Description of conducting measurements
Measurement | Unit and accuracy
Indoor temperature | 0,1°C
CO2 emission | 1 ppm
Relative humidity | 0.1%
4. Descritpion of the devices
Manufacturer
Model
Technical data (e.g.delivery contents, dimensions, weight, power supply)
Photo of the device
5. Description of the monitoring activity
The measurement was carried out for 12 months, measuring air quality at least every 15 minutes. From these data were calculated the average monthly values.
Building description | Date of installation - start of measurements | Date of the end of measurements | Location of the device in the apartment | Short descrpition of the monitoring process
Building 1
Building 2
Building 3
Building 4
Building 5
Building 6
6. Results
6.1 Building 1
6.1.1 Temperature - average daily values
6.1.2 Relative humidity - average daily values
6.1.3 CO2 emission - average daily values
6.1.4 - Conclusions
6.2 Building 2
6.2.1 Temperature - average daily values
6.2.2 Relative humidity - average daily values
6.2.3 CO2 emission - average daily values
6.2.4 - Conclusions
6.3 Building 3
6.3.1 Temperature - average daily values
6.3.2 Relative humidity - average daily values
6.3.3 CO2 emission - average daily values
6.3.4 - Conclusions
6.4 Building 4
6.4.1 Temperature - average daily values
6.4.2 Relative humidity - average daily values
6.4.3 CO2 emission - average daily values
6.4.4 - Conclusions
6.5 Building 5
6.5.1 Temperature - average daily values
6.5.2 Relative humidity - average daily values
6.5.3 CO2 emission - average daily values
6.5.4 - Conclusions
6.6 Building 6
6.6.1 Temperature - average daily values
6.6.2 Relative humidity - average daily values
6.6.3 CO2 emission - average daily values
6.6.4 - Conclusions

## info
renovated | Mazowiecka Agencja Energetyczna (MAE) | Spółdzielnia Mieszkaniowa Marysin Wawerski
non-renovated | Društvo za oblikovanje održivog razvoja (DOOR) | EUROLAND D.O.O.
| Lokalna Energetska Agentura Spodnje Podravje (LEASP) | GP STANORAD D.O.O.
| Agentia Locala a Energiei Alba (ALEA) | EESTI KORTERIUHISTUTE LIIT MTU
Tartu Regiooni Energiaagentuur (TREA)

## Building 1
Year | Date | Day | Temperature MIN [°C] | Temperature MAX [°C] | Temperature AVERAGE [°C] | RH MIN [%] | RH MAX [%] | RH AVERAGE [%] | CO2 MIN [ppm] | CO2 MAX [ppm] | CO2 AVERAGE [ppm]
2024 | 2024-03-01 | 1
| 2024-03-02 | 2
| 2024-03-03 | 3
| 2024-03-04 | 4
| 2024-03-05 | 5
| 2024-03-06 | 6
| 2024-03-07 | 7
| 2024-03-08 | 8
| 2024-03-09 | 9
| 2024-03-10 | 10
| 2024-03-11 | 11
| 2024-03-12 | 12
| 2024-03-13 | 13
| 2024-03-14 | 14
| 2024-03-15 | 15
| 2024-03-16 | 16
| 2024-03-17 | 17
| 2024-03-18 | 18
| 2024-03-19 | 19
| 2024-03-20 | 20
| 2024-03-21 | 21
| 2024-03-22 | 22
| 2024-03-23 | 23
| 2024-03-24 | 24
| 2024-03-25 | 25
| 2024-03-26 | 26
| 2024-03-27 | 27
| 2024-03-28 | 28
| 2024-03-29 | 29
| 2024-03-30 | 30
| 2024-03-31 | 31
| 2024-04-01 | 32
| 2024-04-02 | 33
| 2024-04-03 | 34
| 2024-04-04 | 35
| 2024-04-05 | 36
| 2024-04-06 | 37
| 2024-04-07 | 38
| 2024-04-08 | 39
| 2024-04-09 | 40
| 2024-04-10 | 41
| 2024-04-11 | 42
| 2024-04-12 | 43
| 2024-04-13 | 44
| 2024-04-14 | 45
| 2024-04-15 | 46
| 2024-04-16 | 47
| 2024-04-17 | 48
| 2024-04-18 | 49
| 2024-04-19 | 50
| 2024-04-20 | 51
| 2024-04-21 | 52
| 2024-04-22 | 53
| 2024-04-23 | 54
| 2024-04-24 | 55
| 2024-04-25 | 56
| 2024-04-26 | 57
| 2024-04-27 | 58
| 2024-04-28 | 59
| 2024-04-29 | 60
| 2024-04-30 | 61
| 2024-05-01 | 62
| 2024-05-02 | 63
| 2024-05-03 | 64
| 2024-05-04 | 65
| 2024-05-05 | 66
| 2024-05-06 | 67
| 2024-05-07 | 68
| 2024-05-08 | 69
| 2024-05-09 | 70
| 2024-05-10 | 71
| 2024-05-11 | 72
| 2024-05-12 | 73
| 2024-05-13 | 74
| 2024-05-14 | 75
| 2024-05-15 | 76
| 2024-05-16 | 77
| 2024-05-17 | 78
| 2024-05-18 | 79
| 2024-05-19 | 80
| 2024-05-20 | 81
| 2024-05-21 | 82
| 2024-05-22 | 83
| 2024-05-23 | 84
| 2024-05-24 | 85
| 2024-05-25 | 86
| 2024-05-26 | 87
| 2024-05-27 | 88
| 2024-05-28 | 89
| 2024-05-29 | 90
| 2024-05-30 | 91
| 2024-05-31 | 92
| 2024-06-01 | 93
| 2024-06-02 | 94
| 2024-06-03 | 95
| 2024-06-04 | 96
| 2024-06-05 | 97
| 2024-06-06 | 98
| 2024-06-07 | 99
| 2024-06-08 | 100
| 2024-06-09 | 101
| 2024-06-10 | 102
| 2024-06-11 | 103
| 2024-06-12 | 104
| 2024-06-13 | 105
| 2024-06-14 | 106
| 2024-06-15 | 107
| 2024-06-16 | 108
| 2024-06-17 | 109
| 2024-06-18 | 110
| 2024-06-19 | 111
| 2024-06-20 | 112
| 2024-06-21 | 113
| 2024-06-22 | 114
| 2024-06-23 | 115
| 2024-06-24 | 116
| 2024-06-25 | 117
| 2024-06-26 | 118
| 2024-06-27 | 119
| 2024-06-28 | 120
| 2024-06-29 | 121
| 2024-06-30 | 122
| 2024-07-01 | 123
| 2024-07-02 | 124
| 2024-07-03 | 125
| 2024-07-04 | 126
| 2024-07-05 | 127
| 2024-07-06 | 128
| 2024-07-07 | 129
| 2024-07-08 | 130
| 2024-07-09 | 131
| 2024-07-10 | 132
| 2024-07-11 | 133
| 2024-07-12 | 134
| 2024-07-13 | 135
| 2024-07-14 | 136
| 2024-07-15 | 137
| 2024-07-16 | 138
| 2024-07-17 | 139
| 2024-07-18 | 140
| 2024-07-19 | 141
| 2024-07-20 | 142
| 2024-07-21 | 143
| 2024-07-22 | 144
| 2024-07-23 | 145
| 2024-07-24 | 146
| 2024-07-25 | 147
| 2024-07-26 | 148
| 2024-07-27 | 149
| 2024-07-28 | 150
| 2024-07-29 | 151
| 2024-07-30 | 152
| 2024-07-31 | 153
| 2024-08-01 | 154
| 2024-08-02 | 155
| 2024-08-03 | 156
| 2024-08-04 | 157
| 2024-08-05 | 158
| 2024-08-06 | 159
| 2024-08-07 | 160
| 2024-08-08 | 161
| 2024-08-09 | 162
| 2024-08-10 | 163
| 2024-08-11 | 164
| 2024-08-12 | 165
| 2024-08-13 | 166
| 2024-08-14 | 167
| 2024-08-15 | 168
| 2024-08-16 | 169
| 2024-08-17 | 170
| 2024-08-18 | 171
| 2024-08-19 | 172
| 2024-08-20 | 173
| 2024-08-21 | 174
| 2024-08-22 | 175
| 2024-08-23 | 176
| 2024-08-24 | 177
| 2024-08-25 | 178
| 2024-08-26 | 179
| 2024-08-27 | 180
| 2024-08-28 | 181
| 2024-08-29 | 182
| 2024-08-30 | 183
| 2024-08-31 | 184
| 2024-09-01 | 185
| 2024-09-02 | 186
| 2024-09-03 | 187
| 2024-09-04 | 188
| 2024-09-05 | 189
| 2024-09-06 | 190
| 2024-09-07 | 191
| 2024-09-08 | 192
| 2024-09-09 | 193
| 2024-09-10 | 194
| 2024-09-11 | 195
| 2024-09-12 | 196
| 2024-09-13 | 197
| 2024-09-14 | 198
| 2024-09-15 | 199
| 2024-09-16 | 200
| 2024-09-17 | 201
| 2024-09-18 | 202
| 2024-09-19 | 203
| 2024-09-20 | 204
| 2024-09-21 | 205
| 2024-09-22 | 206
| 2024-09-23 | 207
| 2024-09-24 | 208
| 2024-09-25 | 209
| 2024-09-26 | 210
| 2024-09-27 | 211
| 2024-09-28 | 212
| 2024-09-29 | 213
| 2024-09-30 | 214
| 2024-10-01 | 215
| 2024-10-02 | 216
| 2024-10-03 | 217
| 2024-10-04 | 218
| 2024-10-05 | 219
| 2024-10-06 | 220
| 2024-10-07 | 221
| 2024-10-08 | 222
| 2024-10-09 | 223
| 2024-10-10 | 224
| 2024-10-11 | 225
| 2024-10-12 | 226
| 2024-10-13 | 227
| 2024-10-14 | 228
| 2024-10-15 | 229
| 2024-10-16 | 230
| 2024-10-17 | 231
| 2024-10-18 | 232
| 2024-10-19 | 233
| 2024-10-20 | 234
| 2024-10-21 | 235
| 2024-10-22 | 236
| 2024-10-23 | 237
| 2024-10-24 | 238
| 2024-10-25 | 239
| 2024-10-26 | 240
| 2024-10-27 | 241
| 2024-10-28 | 242
| 2024-10-29 | 243
| 2024-10-30 | 244
| 2024-10-31 | 245
| 2024-11-01 | 246
| 2024-11-02 | 247
| 2024-11-03 | 248
| 2024-11-04 | 249
| 2024-11-05 | 250
| 2024-11-06 | 251
| 2024-11-07 | 252
| 2024-11-08 | 253
| 2024-11-09 | 254
| 2024-11-10 | 255
| 2024-11-11 | 256
| 2024-11-12 | 257
| 2024-11-13 | 258
| 2024-11-14 | 259
| 2024-11-15 | 260
| 2024-11-16 | 261
| 2024-11-17 | 262
| 2024-11-18 | 263
| 2024-11-19 | 264
| 2024-11-20 | 265
| 2024-11-21 | 266
| 2024-11-22 | 267
| 2024-11-23 | 268
| 2024-11-24 | 269
| 2024-11-25 | 270
| 2024-11-26 | 271
| 2024-11-27 | 272
| 2024-11-28 | 273
| 2024-11-29 | 274
| 2024-11-30 | 275
| 2024-12-01 | 276
| 2024-12-02 | 277
| 2024-12-03 | 278
| 2024-12-04 | 279
| 2024-12-05 | 280
| 2024-12-06 | 281
| 2024-12-07 | 282
| 2024-12-08 | 283
| 2024-12-09 | 284
| 2024-12-10 | 285
| 2024-12-11 | 286
| 2024-12-12 | 287
| 2024-12-13 | 288
| 2024-12-14 | 289
| 2024-12-15 | 290
| 2024-12-16 | 291
| 2024-12-17 | 292
| 2024-12-18 | 293
| 2024-12-19 | 294
| 2024-12-20 | 295
| 2024-12-21 | 296
| 2024-12-22 | 297
| 2024-12-23 | 298
| 2024-12-24 | 299
| 2024-12-25 | 300
| 2024-12-26 | 301
| 2024-12-27 | 302
| 2024-12-28 | 303
| 2024-12-29 | 304
| 2024-12-30 | 305
| 2024-12-31 | 306
2025 | 2025-01-01 | 307
| 2025-01-02 | 308
| 2025-01-03 | 309
| 2025-01-04 | 310
| 2025-01-05 | 311
| 2025-01-06 | 312
| 2025-01-07 | 313
| 2025-01-08 | 314
| 2025-01-09 | 315
| 2025-01-10 | 316
| 2025-01-11 | 317
| 2025-01-12 | 318
| 2025-01-13 | 319
| 2025-01-14 | 320
| 2025-01-15 | 321
| 2025-01-16 | 322
| 2025-01-17 | 323
| 2025-01-18 | 324
| 2025-01-19 | 325
| 2025-01-20 | 326
| 2025-01-21 | 327
| 2025-01-22 | 328
| 2025-01-23 | 329
| 2025-01-24 | 330
| 2025-01-25 | 331
| 2025-01-26 | 332
| 2025-01-27 | 333
| 2025-01-28 | 334
| 2025-01-29 | 335
| 2025-01-30 | 336
| 2025-01-31 | 337
| 2025-02-01 | 338
| 2025-02-02 | 339
| 2025-02-03 | 340
| 2025-02-04 | 341
| 2025-02-05 | 342
| 2025-02-06 | 343
| 2025-02-07 | 344
| 2025-02-08 | 345
| 2025-02-09 | 346
| 2025-02-10 | 347
| 2025-02-11 | 348
| 2025-02-12 | 349
| 2025-02-13 | 350
| 2025-02-14 | 351
| 2025-02-15 | 352
| 2025-02-16 | 353
| 2025-02-17 | 354
| 2025-02-18 | 355
| 2025-02-19 | 356
| 2025-02-20 | 357
| 2025-02-21 | 358
| 2025-02-22 | 359
| 2025-02-23 | 360
| 2025-02-24 | 361
| 2025-02-25 | 362
| 2025-02-26 | 363
| 2025-02-27 | 364
| 2025-02-28 | 365

## Building 2
Year | Date | Day | Temperature MIN [°C] | Temperature MAX [°C] | Temperature AVERAGE [°C] | RH MIN [%] | RH MAX [%] | RH AVERAGE [%] | CO2 MIN [ppm] | CO2 MAX [ppm] | CO2 AVERAGE [ppm]
2024 | 2024-03-01 | 1
| 2024-03-02 | 2
| 2024-03-03 | 3
| 2024-03-04 | 4
| 2024-03-05 | 5
| 2024-03-06 | 6
| 2024-03-07 | 7
| 2024-03-08 | 8
| 2024-03-09 | 9
| 2024-03-10 | 10
| 2024-03-11 | 11
| 2024-03-12 | 12
| 2024-03-13 | 13
| 2024-03-14 | 14
| 2024-03-15 | 15
| 2024-03-16 | 16
| 2024-03-17 | 17
| 2024-03-18 | 18
| 2024-03-19 | 19
| 2024-03-20 | 20
| 2024-03-21 | 21
| 2024-03-22 | 22
| 2024-03-23 | 23
| 2024-03-24 | 24
| 2024-03-25 | 25
| 2024-03-26 | 26
| 2024-03-27 | 27
| 2024-03-28 | 28
| 2024-03-29 | 29
| 2024-03-30 | 30
| 2024-03-31 | 31
| 2024-04-01 | 32
| 2024-04-02 | 33
| 2024-04-03 | 34
| 2024-04-04 | 35
| 2024-04-05 | 36
| 2024-04-06 | 37
| 2024-04-07 | 38
| 2024-04-08 | 39
| 2024-04-09 | 40
| 2024-04-10 | 41
| 2024-04-11 | 42
| 2024-04-12 | 43
| 2024-04-13 | 44
| 2024-04-14 | 45
| 2024-04-15 | 46
| 2024-04-16 | 47
| 2024-04-17 | 48
| 2024-04-18 | 49
| 2024-04-19 | 50
| 2024-04-20 | 51
| 2024-04-21 | 52
| 2024-04-22 | 53
| 2024-04-23 | 54
| 2024-04-24 | 55
| 2024-04-25 | 56
| 2024-04-26 | 57
| 2024-04-27 | 58
| 2024-04-28 | 59
| 2024-04-29 | 60
| 2024-04-30 | 61
| 2024-05-01 | 62
| 2024-05-02 | 63
| 2024-05-03 | 64
| 2024-05-04 | 65
| 2024-05-05 | 66
| 2024-05-06 | 67
| 2024-05-07 | 68
| 2024-05-08 | 69
| 2024-05-09 | 70
| 2024-05-10 | 71
| 2024-05-11 | 72
| 2024-05-12 | 73
| 2024-05-13 | 74
| 2024-05-14 | 75
| 2024-05-15 | 76
| 2024-05-16 | 77
| 2024-05-17 | 78
| 2024-05-18 | 79
| 2024-05-19 | 80
| 2024-05-20 | 81
| 2024-05-21 | 82
| 2024-05-22 | 83
| 2024-05-23 | 84
| 2024-05-24 | 85
| 2024-05-25 | 86
| 2024-05-26 | 87
| 2024-05-27 | 88
| 2024-05-28 | 89
| 2024-05-29 | 90
| 2024-05-30 | 91
| 2024-05-31 | 92
| 2024-06-01 | 93
| 2024-06-02 | 94
| 2024-06-03 | 95
| 2024-06-04 | 96
| 2024-06-05 | 97
| 2024-06-06 | 98
| 2024-06-07 | 99
| 2024-06-08 | 100
| 2024-06-09 | 101
| 2024-06-10 | 102
| 2024-06-11 | 103
| 2024-06-12 | 104
| 2024-06-13 | 105
| 2024-06-14 | 106
| 2024-06-15 | 107
| 2024-06-16 | 108
| 2024-06-17 | 109
| 2024-06-18 | 110
| 2024-06-19 | 111
| 2024-06-20 | 112
| 2024-06-21 | 113
| 2024-06-22 | 114
| 2024-06-23 | 115
| 2024-06-24 | 116
| 2024-06-25 | 117
| 2024-06-26 | 118
| 2024-06-27 | 119
| 2024-06-28 | 120
| 2024-06-29 | 121
| 2024-06-30 | 122
| 2024-07-01 | 123
| 2024-07-02 | 124
| 2024-07-03 | 125
| 2024-07-04 | 126
| 2024-07-05 | 127
| 2024-07-06 | 128
| 2024-07-07 | 129
| 2024-07-08 | 130
| 2024-07-09 | 131
| 2024-07-10 | 132
| 2024-07-11 | 133
| 2024-07-12 | 134
| 2024-07-13 | 135
| 2024-07-14 | 136
| 2024-07-15 | 137
| 2024-07-16 | 138
| 2024-07-17 | 139
| 2024-07-18 | 140
| 2024-07-19 | 141
| 2024-07-20 | 142
| 2024-07-21 | 143
| 2024-07-22 | 144
| 2024-07-23 | 145
| 2024-07-24 | 146
| 2024-07-25 | 147
| 2024-07-26 | 148
| 2024-07-27 | 149
| 2024-07-28 | 150
| 2024-07-29 | 151
| 2024-07-30 | 152
| 2024-07-31 | 153
| 2024-08-01 | 154
| 2024-08-02 | 155
| 2024-08-03 | 156
| 2024-08-04 | 157
| 2024-08-05 | 158
| 2024-08-06 | 159
| 2024-08-07 | 160
| 2024-08-08 | 161
| 2024-08-09 | 162
| 2024-08-10 | 163
| 2024-08-11 | 164
| 2024-08-12 | 165
| 2024-08-13 | 166
| 2024-08-14 | 167
| 2024-08-15 | 168
| 2024-08-16 | 169
| 2024-08-17 | 170
| 2024-08-18 | 171
| 2024-08-19 | 172
| 2024-08-20 | 173
| 2024-08-21 | 174
| 2024-08-22 | 175
| 2024-08-23 | 176
| 2024-08-24 | 177
| 2024-08-25 | 178
| 2024-08-26 | 179
| 2024-08-27 | 180
| 2024-08-28 | 181
| 2024-08-29 | 182
| 2024-08-30 | 183
| 2024-08-31 | 184
| 2024-09-01 | 185
| 2024-09-02 | 186
| 2024-09-03 | 187
| 2024-09-04 | 188
| 2024-09-05 | 189
| 2024-09-06 | 190
| 2024-09-07 | 191
| 2024-09-08 | 192
| 2024-09-09 | 193
| 2024-09-10 | 194
| 2024-09-11 | 195
| 2024-09-12 | 196
| 2024-09-13 | 197
| 2024-09-14 | 198
| 2024-09-15 | 199
| 2024-09-16 | 200
| 2024-09-17 | 201
| 2024-09-18 | 202
| 2024-09-19 | 203
| 2024-09-20 | 204
| 2024-09-21 | 205
| 2024-09-22 | 206
| 2024-09-23 | 207
| 2024-09-24 | 208
| 2024-09-25 | 209
| 2024-09-26 | 210
| 2024-09-27 | 211
| 2024-09-28 | 212
| 2024-09-29 | 213
| 2024-09-30 | 214
| 2024-10-01 | 215
| 2024-10-02 | 216
| 2024-10-03 | 217
| 2024-10-04 | 218
| 2024-10-05 | 219
| 2024-10-06 | 220
| 2024-10-07 | 221
| 2024-10-08 | 222
| 2024-10-09 | 223
| 2024-10-10 | 224
| 2024-10-11 | 225
| 2024-10-12 | 226
| 2024-10-13 | 227
| 2024-10-14 | 228
| 2024-10-15 | 229
| 2024-10-16 | 230
| 2024-10-17 | 231
| 2024-10-18 | 232
| 2024-10-19 | 233
| 2024-10-20 | 234
| 2024-10-21 | 235
| 2024-10-22 | 236
| 2024-10-23 | 237
| 2024-10-24 | 238
| 2024-10-25 | 239
| 2024-10-26 | 240
| 2024-10-27 | 241
| 2024-10-28 | 242
| 2024-10-29 | 243
| 2024-10-30 | 244
| 2024-10-31 | 245
| 2024-11-01 | 246
| 2024-11-02 | 247
| 2024-11-03 | 248
| 2024-11-04 | 249
| 2024-11-05 | 250
| 2024-11-06 | 251
| 2024-11-07 | 252
| 2024-11-08 | 253
| 2024-11-09 | 254
| 2024-11-10 | 255
| 2024-11-11 | 256
| 2024-11-12 | 257
| 2024-11-13 | 258
| 2024-11-14 | 259
| 2024-11-15 | 260
| 2024-11-16 | 261
| 2024-11-17 | 262
| 2024-11-18 | 263
| 2024-11-19 | 264
| 2024-11-20 | 265
| 2024-11-21 | 266
| 2024-11-22 | 267
| 2024-11-23 | 268
| 2024-11-24 | 269
| 2024-11-25 | 270
| 2024-11-26 | 271
| 2024-11-27 | 272
| 2024-11-28 | 273
| 2024-11-29 | 274
| 2024-11-30 | 275
| 2024-12-01 | 276
| 2024-12-02 | 277
| 2024-12-03 | 278
| 2024-12-04 | 279
| 2024-12-05 | 280
| 2024-12-06 | 281
| 2024-12-07 | 282
| 2024-12-08 | 283
| 2024-12-09 | 284
| 2024-12-10 | 285
| 2024-12-11 | 286
| 2024-12-12 | 287
| 2024-12-13 | 288
| 2024-12-14 | 289
| 2024-12-15 | 290
| 2024-12-16 | 291
| 2024-12-17 | 292
| 2024-12-18 | 293
| 2024-12-19 | 294
| 2024-12-20 | 295
| 2024-12-21 | 296
| 2024-12-22 | 297
| 2024-12-23 | 298
| 2024-12-24 | 299
| 2024-12-25 | 300
| 2024-12-26 | 301
| 2024-12-27 | 302
| 2024-12-28 | 303
| 2024-12-29 | 304
| 2024-12-30 | 305
| 2024-12-31 | 306
2025 | 2025-01-01 | 307
| 2025-01-02 | 308
| 2025-01-03 | 309
| 2025-01-04 | 310
| 2025-01-05 | 311
| 2025-01-06 | 312
| 2025-01-07 | 313
| 2025-01-08 | 314
| 2025-01-09 | 315
| 2025-01-10 | 316
| 2025-01-11 | 317
| 2025-01-12 | 318
| 2025-01-13 | 319
| 2025-01-14 | 320
| 2025-01-15 | 321
| 2025-01-16 | 322
| 2025-01-17 | 323
| 2025-01-18 | 324
| 2025-01-19 | 325
| 2025-01-20 | 326
| 2025-01-21 | 327
| 2025-01-22 | 328
| 2025-01-23 | 329
| 2025-01-24 | 330
| 2025-01-25 | 331
| 2025-01-26 | 332
| 2025-01-27 | 333
| 2025-01-28 | 334
| 2025-01-29 | 335
| 2025-01-30 | 336
| 2025-01-31 | 337
| 2025-02-01 | 338
| 2025-02-02 | 339
| 2025-02-03 | 340
| 2025-02-04 | 341
| 2025-02-05 | 342
| 2025-02-06 | 343
| 2025-02-07 | 344
| 2025-02-08 | 345
| 2025-02-09 | 346
| 2025-02-10 | 347
| 2025-02-11 | 348
| 2025-02-12 | 349
| 2025-02-13 | 350
| 2025-02-14 | 351
| 2025-02-15 | 352
| 2025-02-16 | 353
| 2025-02-17 | 354
| 2025-02-18 | 355
| 2025-02-19 | 356
| 2025-02-20 | 357
| 2025-02-21 | 358
| 2025-02-22 | 359
| 2025-02-23 | 360
| 2025-02-24 | 361
| 2025-02-25 | 362
| 2025-02-26 | 363
| 2025-02-27 | 364
| 2025-02-28 | 365

## Building 3
Year | Date | Day | Temperature MIN [°C] | Temperature MAX [°C] | Temperature AVERAGE [°C] | RH MIN [%] | RH MAX [%] | RH AVERAGE [%] | CO2 MIN [ppm] | CO2 MAX [ppm] | CO2 AVERAGE [ppm]
2024 | 2024-03-01 | 1
| 2024-03-02 | 2
| 2024-03-03 | 3
| 2024-03-04 | 4
| 2024-03-05 | 5
| 2024-03-06 | 6
| 2024-03-07 | 7
| 2024-03-08 | 8
| 2024-03-09 | 9
| 2024-03-10 | 10
| 2024-03-11 | 11
| 2024-03-12 | 12
| 2024-03-13 | 13
| 2024-03-14 | 14
| 2024-03-15 | 15
| 2024-03-16 | 16
| 2024-03-17 | 17
| 2024-03-18 | 18
| 2024-03-19 | 19
| 2024-03-20 | 20
| 2024-03-21 | 21
| 2024-03-22 | 22
| 2024-03-23 | 23
| 2024-03-24 | 24
| 2024-03-25 | 25
| 2024-03-26 | 26
| 2024-03-27 | 27
| 2024-03-28 | 28
| 2024-03-29 | 29
| 2024-03-30 | 30
| 2024-03-31 | 31
| 2024-04-01 | 32
| 2024-04-02 | 33
| 2024-04-03 | 34
| 2024-04-04 | 35
| 2024-04-05 | 36
| 2024-04-06 | 37
| 2024-04-07 | 38
| 2024-04-08 | 39
| 2024-04-09 | 40
| 2024-04-10 | 41
| 2024-04-11 | 42
| 2024-04-12 | 43
| 2024-04-13 | 44
| 2024-04-14 | 45
| 2024-04-15 | 46
| 2024-04-16 | 47
| 2024-04-17 | 48
| 2024-04-18 | 49
| 2024-04-19 | 50
| 2024-04-20 | 51
| 2024-04-21 | 52
| 2024-04-22 | 53
| 2024-04-23 | 54
| 2024-04-24 | 55
| 2024-04-25 | 56
| 2024-04-26 | 57
| 2024-04-27 | 58
| 2024-04-28 | 59
| 2024-04-29 | 60
| 2024-04-30 | 61
| 2024-05-01 | 62
| 2024-05-02 | 63
| 2024-05-03 | 64
| 2024-05-04 | 65
| 2024-05-05 | 66
| 2024-05-06 | 67
| 2024-05-07 | 68
| 2024-05-08 | 69
| 2024-05-09 | 70
| 2024-05-10 | 71
| 2024-05-11 | 72
| 2024-05-12 | 73
| 2024-05-13 | 74
| 2024-05-14 | 75
| 2024-05-15 | 76
| 2024-05-16 | 77
| 2024-05-17 | 78
| 2024-05-18 | 79
| 2024-05-19 | 80
| 2024-05-20 | 81
| 2024-05-21 | 82
| 2024-05-22 | 83
| 2024-05-23 | 84
| 2024-05-24 | 85
| 2024-05-25 | 86
| 2024-05-26 | 87
| 2024-05-27 | 88
| 2024-05-28 | 89
| 2024-05-29 | 90
| 2024-05-30 | 91
| 2024-05-31 | 92
| 2024-06-01 | 93
| 2024-06-02 | 94
| 2024-06-03 | 95
| 2024-06-04 | 96
| 2024-06-05 | 97
| 2024-06-06 | 98
| 2024-06-07 | 99
| 2024-06-08 | 100
| 2024-06-09 | 101
| 2024-06-10 | 102
| 2024-06-11 | 103
| 2024-06-12 | 104
| 2024-06-13 | 105
| 2024-06-14 | 106
| 2024-06-15 | 107
| 2024-06-16 | 108
| 2024-06-17 | 109
| 2024-06-18 | 110
| 2024-06-19 | 111
| 2024-06-20 | 112
| 2024-06-21 | 113
| 2024-06-22 | 114
| 2024-06-23 | 115
| 2024-06-24 | 116
| 2024-06-25 | 117
| 2024-06-26 | 118
| 2024-06-27 | 119
| 2024-06-28 | 120
| 2024-06-29 | 121
| 2024-06-30 | 122
| 2024-07-01 | 123
| 2024-07-02 | 124
| 2024-07-03 | 125
| 2024-07-04 | 126
| 2024-07-05 | 127
| 2024-07-06 | 128
| 2024-07-07 | 129
| 2024-07-08 | 130
| 2024-07-09 | 131
| 2024-07-10 | 132
| 2024-07-11 | 133
| 2024-07-12 | 134
| 2024-07-13 | 135
| 2024-07-14 | 136
| 2024-07-15 | 137
| 2024-07-16 | 138
| 2024-07-17 | 139
| 2024-07-18 | 140
| 2024-07-19 | 141
| 2024-07-20 | 142
| 2024-07-21 | 143
| 2024-07-22 | 144
| 2024-07-23 | 145
| 2024-07-24 | 146
| 2024-07-25 | 147
| 2024-07-26 | 148
| 2024-07-27 | 149
| 2024-07-28 | 150
| 2024-07-29 | 151
| 2024-07-30 | 152
| 2024-07-31 | 153
| 2024-08-01 | 154
| 2024-08-02 | 155
| 2024-08-03 | 156
| 2024-08-04 | 157
| 2024-08-05 | 158
| 2024-08-06 | 159
| 2024-08-07 | 160
| 2024-08-08 | 161
| 2024-08-09 | 162
| 2024-08-10 | 163
| 2024-08-11 | 164
| 2024-08-12 | 165
| 2024-08-13 | 166
| 2024-08-14 | 167
| 2024-08-15 | 168
| 2024-08-16 | 169
| 2024-08-17 | 170
| 2024-08-18 | 171
| 2024-08-19 | 172
| 2024-08-20 | 173
| 2024-08-21 | 174
| 2024-08-22 | 175
| 2024-08-23 | 176
| 2024-08-24 | 177
| 2024-08-25 | 178
| 2024-08-26 | 179
| 2024-08-27 | 180
| 2024-08-28 | 181
| 2024-08-29 | 182
| 2024-08-30 | 183
| 2024-08-31 | 184
| 2024-09-01 | 185
| 2024-09-02 | 186
| 2024-09-03 | 187
| 2024-09-04 | 188
| 2024-09-05 | 189
| 2024-09-06 | 190
| 2024-09-07 | 191
| 2024-09-08 | 192
| 2024-09-09 | 193
| 2024-09-10 | 194
| 2024-09-11 | 195
| 2024-09-12 | 196
| 2024-09-13 | 197
| 2024-09-14 | 198
| 2024-09-15 | 199
| 2024-09-16 | 200
| 2024-09-17 | 201
| 2024-09-18 | 202
| 2024-09-19 | 203
| 2024-09-20 | 204
| 2024-09-21 | 205
| 2024-09-22 | 206
| 2024-09-23 | 207
| 2024-09-24 | 208
| 2024-09-25 | 209
| 2024-09-26 | 210
| 2024-09-27 | 211
| 2024-09-28 | 212
| 2024-09-29 | 213
| 2024-09-30 | 214
| 2024-10-01 | 215
| 2024-10-02 | 216
| 2024-10-03 | 217
| 2024-10-04 | 218
| 2024-10-05 | 219
| 2024-10-06 | 220
| 2024-10-07 | 221
| 2024-10-08 | 222
| 2024-10-09 | 223
| 2024-10-10 | 224
| 2024-10-11 | 225
| 2024-10-12 | 226
| 2024-10-13 | 227
| 2024-10-14 | 228
| 2024-10-15 | 229
| 2024-10-16 | 230
| 2024-10-17 | 231
| 2024-10-18 | 232
| 2024-10-19 | 233
| 2024-10-20 | 234
| 2024-10-21 | 235
| 2024-10-22 | 236
| 2024-10-23 | 237
| 2024-10-24 | 238
| 2024-10-25 | 239
| 2024-10-26 | 240
| 2024-10-27 | 241
| 2024-10-28 | 242
| 2024-10-29 | 243
| 2024-10-30 | 244
| 2024-10-31 | 245
| 2024-11-01 | 246
| 2024-11-02 | 247
| 2024-11-03 | 248
| 2024-11-04 | 249
| 2024-11-05 | 250
| 2024-11-06 | 251
| 2024-11-07 | 252
| 2024-11-08 | 253
| 2024-11-09 | 254
| 2024-11-10 | 255
| 2024-11-11 | 256
| 2024-11-12 | 257
| 2024-11-13 | 258
| 2024-11-14 | 259
| 2024-11-15 | 260
| 2024-11-16 | 261
| 2024-11-17 | 262
| 2024-11-18 | 263
| 2024-11-19 | 264
| 2024-11-20 | 265
| 2024-11-21 | 266
| 2024-11-22 | 267
| 2024-11-23 | 268
| 2024-11-24 | 269
| 2024-11-25 | 270
| 2024-11-26 | 271
| 2024-11-27 | 272
| 2024-11-28 | 273
| 2024-11-29 | 274
| 2024-11-30 | 275
| 2024-12-01 | 276
| 2024-12-02 | 277
| 2024-12-03 | 278
| 2024-12-04 | 279
| 2024-12-05 | 280
| 2024-12-06 | 281
| 2024-12-07 | 282
| 2024-12-08 | 283
| 2024-12-09 | 284
| 2024-12-10 | 285
| 2024-12-11 | 286
| 2024-12-12 | 287
| 2024-12-13 | 288
| 2024-12-14 | 289
| 2024-12-15 | 290
| 2024-12-16 | 291
| 2024-12-17 | 292
| 2024-12-18 | 293
| 2024-12-19 | 294
| 2024-12-20 | 295
| 2024-12-21 | 296
| 2024-12-22 | 297
| 2024-12-23 | 298
| 2024-12-24 | 299
| 2024-12-25 | 300
| 2024-12-26 | 301
| 2024-12-27 | 302
| 2024-12-28 | 303
| 2024-12-29 | 304
| 2024-12-30 | 305
| 2024-12-31 | 306
2025 | 2025-01-01 | 307
| 2025-01-02 | 308
| 2025-01-03 | 309
| 2025-01-04 | 310
| 2025-01-05 | 311
| 2025-01-06 | 312
| 2025-01-07 | 313
| 2025-01-08 | 314
| 2025-01-09 | 315
| 2025-01-10 | 316
| 2025-01-11 | 317
| 2025-01-12 | 318
| 2025-01-13 | 319
| 2025-01-14 | 320
| 2025-01-15 | 321
| 2025-01-16 | 322
| 2025-01-17 | 323
| 2025-01-18 | 324
| 2025-01-19 | 325
| 2025-01-20 | 326
| 2025-01-21 | 327
| 2025-01-22 | 328
| 2025-01-23 | 329
| 2025-01-24 | 330
| 2025-01-25 | 331
| 2025-01-26 | 332
| 2025-01-27 | 333
| 2025-01-28 | 334
| 2025-01-29 | 335
| 2025-01-30 | 336
| 2025-01-31 | 337
| 2025-02-01 | 338
| 2025-02-02 | 339
| 2025-02-03 | 340
| 2025-02-04 | 341
| 2025-02-05 | 342
| 2025-02-06 | 343
| 2025-02-07 | 344
| 2025-02-08 | 345
| 2025-02-09 | 346
| 2025-02-10 | 347
| 2025-02-11 | 348
| 2025-02-12 | 349
| 2025-02-13 | 350
| 2025-02-14 | 351
| 2025-02-15 | 352
| 2025-02-16 | 353
| 2025-02-17 | 354
| 2025-02-18 | 355
| 2025-02-19 | 356
| 2025-02-20 | 357
| 2025-02-21 | 358
| 2025-02-22 | 359
| 2025-02-23 | 360
| 2025-02-24 | 361
| 2025-02-25 | 362
| 2025-02-26 | 363
| 2025-02-27 | 364
| 2025-02-28 | 365

## Building 4
Year | Date | Day | Temperature MIN [°C] | Temperature MAX [°C] | Temperature AVERAGE [°C] | RH MIN [%] | RH MAX [%] | RH AVERAGE [%] | CO2 MIN [ppm] | CO2 MAX [ppm] | CO2 AVERAGE [ppm]
2024 | 2024-03-01 | 1
| 2024-03-02 | 2
| 2024-03-03 | 3
| 2024-03-04 | 4
| 2024-03-05 | 5
| 2024-03-06 | 6
| 2024-03-07 | 7
| 2024-03-08 | 8
| 2024-03-09 | 9
| 2024-03-10 | 10
| 2024-03-11 | 11
| 2024-03-12 | 12
| 2024-03-13 | 13
| 2024-03-14 | 14
| 2024-03-15 | 15
| 2024-03-16 | 16
| 2024-03-17 | 17
| 2024-03-18 | 18
| 2024-03-19 | 19
| 2024-03-20 | 20
| 2024-03-21 | 21
| 2024-03-22 | 22
| 2024-03-23 | 23
| 2024-03-24 | 24
| 2024-03-25 | 25
| 2024-03-26 | 26
| 2024-03-27 | 27
| 2024-03-28 | 28
| 2024-03-29 | 29
| 2024-03-30 | 30
| 2024-03-31 | 31
| 2024-04-01 | 32
| 2024-04-02 | 33
| 2024-04-03 | 34
| 2024-04-04 | 35
| 2024-04-05 | 36
| 2024-04-06 | 37
| 2024-04-07 | 38
| 2024-04-08 | 39
| 2024-04-09 | 40
| 2024-04-10 | 41
| 2024-04-11 | 42
| 2024-04-12 | 43
| 2024-04-13 | 44
| 2024-04-14 | 45
| 2024-04-15 | 46
| 2024-04-16 | 47
| 2024-04-17 | 48
| 2024-04-18 | 49
| 2024-04-19 | 50
| 2024-04-20 | 51
| 2024-04-21 | 52
| 2024-04-22 | 53
| 2024-04-23 | 54
| 2024-04-24 | 55
| 2024-04-25 | 56
| 2024-04-26 | 57
| 2024-04-27 | 58
| 2024-04-28 | 59
| 2024-04-29 | 60
| 2024-04-30 | 61
| 2024-05-01 | 62
| 2024-05-02 | 63
| 2024-05-03 | 64
| 2024-05-04 | 65
| 2024-05-05 | 66
| 2024-05-06 | 67
| 2024-05-07 | 68
| 2024-05-08 | 69
| 2024-05-09 | 70
| 2024-05-10 | 71
| 2024-05-11 | 72
| 2024-05-12 | 73
| 2024-05-13 | 74
| 2024-05-14 | 75
| 2024-05-15 | 76
| 2024-05-16 | 77
| 2024-05-17 | 78
| 2024-05-18 | 79
| 2024-05-19 | 80
| 2024-05-20 | 81
| 2024-05-21 | 82
| 2024-05-22 | 83
| 2024-05-23 | 84
| 2024-05-24 | 85
| 2024-05-25 | 86
| 2024-05-26 | 87
| 2024-05-27 | 88
| 2024-05-28 | 89
| 2024-05-29 | 90
| 2024-05-30 | 91
| 2024-05-31 | 92
| 2024-06-01 | 93
| 2024-06-02 | 94
| 2024-06-03 | 95
| 2024-06-04 | 96
| 2024-06-05 | 97
| 2024-06-06 | 98
| 2024-06-07 | 99
| 2024-06-08 | 100
| 2024-06-09 | 101
| 2024-06-10 | 102
| 2024-06-11 | 103
| 2024-06-12 | 104
| 2024-06-13 | 105
| 2024-06-14 | 106
| 2024-06-15 | 107
| 2024-06-16 | 108
| 2024-06-17 | 109
| 2024-06-18 | 110
| 2024-06-19 | 111
| 2024-06-20 | 112
| 2024-06-21 | 113
| 2024-06-22 | 114
| 2024-06-23 | 115
| 2024-06-24 | 116
| 2024-06-25 | 117
| 2024-06-26 | 118
| 2024-06-27 | 119
| 2024-06-28 | 120
| 2024-06-29 | 121
| 2024-06-30 | 122
| 2024-07-01 | 123
| 2024-07-02 | 124
| 2024-07-03 | 125
| 2024-07-04 | 126
| 2024-07-05 | 127
| 2024-07-06 | 128
| 2024-07-07 | 129
| 2024-07-08 | 130
| 2024-07-09 | 131
| 2024-07-10 | 132
| 2024-07-11 | 133
| 2024-07-12 | 134
| 2024-07-13 | 135
| 2024-07-14 | 136
| 2024-07-15 | 137
| 2024-07-16 | 138
| 2024-07-17 | 139
| 2024-07-18 | 140
| 2024-07-19 | 141
| 2024-07-20 | 142
| 2024-07-21 | 143
| 2024-07-22 | 144
| 2024-07-23 | 145
| 2024-07-24 | 146
| 2024-07-25 | 147
| 2024-07-26 | 148
| 2024-07-27 | 149
| 2024-07-28 | 150
| 2024-07-29 | 151
| 2024-07-30 | 152
| 2024-07-31 | 153
| 2024-08-01 | 154
| 2024-08-02 | 155
| 2024-08-03 | 156
| 2024-08-04 | 157
| 2024-08-05 | 158
| 2024-08-06 | 159
| 2024-08-07 | 160
| 2024-08-08 | 161
| 2024-08-09 | 162
| 2024-08-10 | 163
| 2024-08-11 | 164
| 2024-08-12 | 165
| 2024-08-13 | 166
| 2024-08-14 | 167
| 2024-08-15 | 168
| 2024-08-16 | 169
| 2024-08-17 | 170
| 2024-08-18 | 171
| 2024-08-19 | 172
| 2024-08-20 | 173
| 2024-08-21 | 174
| 2024-08-22 | 175
| 2024-08-23 | 176
| 2024-08-24 | 177
| 2024-08-25 | 178
| 2024-08-26 | 179
| 2024-08-27 | 180
| 2024-08-28 | 181
| 2024-08-29 | 182
| 2024-08-30 | 183
| 2024-08-31 | 184
| 2024-09-01 | 185
| 2024-09-02 | 186
| 2024-09-03 | 187
| 2024-09-04 | 188
| 2024-09-05 | 189
| 2024-09-06 | 190
| 2024-09-07 | 191
| 2024-09-08 | 192
| 2024-09-09 | 193
| 2024-09-10 | 194
| 2024-09-11 | 195
| 2024-09-12 | 196
| 2024-09-13 | 197
| 2024-09-14 | 198
| 2024-09-15 | 199
| 2024-09-16 | 200
| 2024-09-17 | 201
| 2024-09-18 | 202
| 2024-09-19 | 203
| 2024-09-20 | 204
| 2024-09-21 | 205
| 2024-09-22 | 206
| 2024-09-23 | 207
| 2024-09-24 | 208
| 2024-09-25 | 209
| 2024-09-26 | 210
| 2024-09-27 | 211
| 2024-09-28 | 212
| 2024-09-29 | 213
| 2024-09-30 | 214
| 2024-10-01 | 215
| 2024-10-02 | 216
| 2024-10-03 | 217
| 2024-10-04 | 218
| 2024-10-05 | 219
| 2024-10-06 | 220
| 2024-10-07 | 221
| 2024-10-08 | 222
| 2024-10-09 | 223
| 2024-10-10 | 224
| 2024-10-11 | 225
| 2024-10-12 | 226
| 2024-10-13 | 227
| 2024-10-14 | 228
| 2024-10-15 | 229
| 2024-10-16 | 230
| 2024-10-17 | 231
| 2024-10-18 | 232
| 2024-10-19 | 233
| 2024-10-20 | 234
| 2024-10-21 | 235
| 2024-10-22 | 236
| 2024-10-23 | 237
| 2024-10-24 | 238
| 2024-10-25 | 239
| 2024-10-26 | 240
| 2024-10-27 | 241
| 2024-10-28 | 242
| 2024-10-29 | 243
| 2024-10-30 | 244
| 2024-10-31 | 245
| 2024-11-01 | 246
| 2024-11-02 | 247
| 2024-11-03 | 248
| 2024-11-04 | 249
| 2024-11-05 | 250
| 2024-11-06 | 251
| 2024-11-07 | 252
| 2024-11-08 | 253
| 2024-11-09 | 254
| 2024-11-10 | 255
| 2024-11-11 | 256
| 2024-11-12 | 257
| 2024-11-13 | 258
| 2024-11-14 | 259
| 2024-11-15 | 260
| 2024-11-16 | 261
| 2024-11-17 | 262
| 2024-11-18 | 263
| 2024-11-19 | 264
| 2024-11-20 | 265
| 2024-11-21 | 266
| 2024-11-22 | 267
| 2024-11-23 | 268
| 2024-11-24 | 269
| 2024-11-25 | 270
| 2024-11-26 | 271
| 2024-11-27 | 272
| 2024-11-28 | 273
| 2024-11-29 | 274
| 2024-11-30 | 275
| 2024-12-01 | 276
| 2024-12-02 | 277
| 2024-12-03 | 278
| 2024-12-04 | 279
| 2024-12-05 | 280
| 2024-12-06 | 281
| 2024-12-07 | 282
| 2024-12-08 | 283
| 2024-12-09 | 284
| 2024-12-10 | 285
| 2024-12-11 | 286
| 2024-12-12 | 287
| 2024-12-13 | 288
| 2024-12-14 | 289
| 2024-12-15 | 290
| 2024-12-16 | 291
| 2024-12-17 | 292
| 2024-12-18 | 293
| 2024-12-19 | 294
| 2024-12-20 | 295
| 2024-12-21 | 296
| 2024-12-22 | 297
| 2024-12-23 | 298
| 2024-12-24 | 299
| 2024-12-25 | 300
| 2024-12-26 | 301
| 2024-12-27 | 302
| 2024-12-28 | 303
| 2024-12-29 | 304
| 2024-12-30 | 305
| 2024-12-31 | 306
2025 | 2025-01-01 | 307
| 2025-01-02 | 308
| 2025-01-03 | 309
| 2025-01-04 | 310
| 2025-01-05 | 311
| 2025-01-06 | 312
| 2025-01-07 | 313
| 2025-01-08 | 314
| 2025-01-09 | 315
| 2025-01-10 | 316
| 2025-01-11 | 317
| 2025-01-12 | 318
| 2025-01-13 | 319
| 2025-01-14 | 320
| 2025-01-15 | 321
| 2025-01-16 | 322
| 2025-01-17 | 323
| 2025-01-18 | 324
| 2025-01-19 | 325
| 2025-01-20 | 326
| 2025-01-21 | 327
| 2025-01-22 | 328
| 2025-01-23 | 329
| 2025-01-24 | 330
| 2025-01-25 | 331
| 2025-01-26 | 332
| 2025-01-27 | 333
| 2025-01-28 | 334
| 2025-01-29 | 335
| 2025-01-30 | 336
| 2025-01-31 | 337
| 2025-02-01 | 338
| 2025-02-02 | 339
| 2025-02-03 | 340
| 2025-02-04 | 341
| 2025-02-05 | 342
| 2025-02-06 | 343
| 2025-02-07 | 344
| 2025-02-08 | 345
| 2025-02-09 | 346
| 2025-02-10 | 347
| 2025-02-11 | 348
| 2025-02-12 | 349
| 2025-02-13 | 350
| 2025-02-14 | 351
| 2025-02-15 | 352
| 2025-02-16 | 353
| 2025-02-17 | 354
| 2025-02-18 | 355
| 2025-02-19 | 356
| 2025-02-20 | 357
| 2025-02-21 | 358
| 2025-02-22 | 359
| 2025-02-23 | 360
| 2025-02-24 | 361
| 2025-02-25 | 362
| 2025-02-26 | 363
| 2025-02-27 | 364
| 2025-02-28 | 365

## Building 5
Year | Date | Day | Temperature MIN [°C] | Temperature MAX [°C] | Temperature AVERAGE [°C] | RH MIN [%] | RH MAX [%] | RH AVERAGE [%] | CO2 MIN [ppm] | CO2 MAX [ppm] | CO2 AVERAGE [ppm]
2024 | 2024-03-01 | 1
| 2024-03-02 | 2
| 2024-03-03 | 3
| 2024-03-04 | 4
| 2024-03-05 | 5
| 2024-03-06 | 6
| 2024-03-07 | 7
| 2024-03-08 | 8
| 2024-03-09 | 9
| 2024-03-10 | 10
| 2024-03-11 | 11
| 2024-03-12 | 12
| 2024-03-13 | 13
| 2024-03-14 | 14
| 2024-03-15 | 15
| 2024-03-16 | 16
| 2024-03-17 | 17
| 2024-03-18 | 18
| 2024-03-19 | 19
| 2024-03-20 | 20
| 2024-03-21 | 21
| 2024-03-22 | 22
| 2024-03-23 | 23
| 2024-03-24 | 24
| 2024-03-25 | 25
| 2024-03-26 | 26
| 2024-03-27 | 27
| 2024-03-28 | 28
| 2024-03-29 | 29
| 2024-03-30 | 30
| 2024-03-31 | 31
| 2024-04-01 | 32
| 2024-04-02 | 33
| 2024-04-03 | 34
| 2024-04-04 | 35
| 2024-04-05 | 36
| 2024-04-06 | 37
| 2024-04-07 | 38
| 2024-04-08 | 39
| 2024-04-09 | 40
| 2024-04-10 | 41
| 2024-04-11 | 42
| 2024-04-12 | 43
| 2024-04-13 | 44
| 2024-04-14 | 45
| 2024-04-15 | 46
| 2024-04-16 | 47
| 2024-04-17 | 48
| 2024-04-18 | 49
| 2024-04-19 | 50
| 2024-04-20 | 51
| 2024-04-21 | 52
| 2024-04-22 | 53
| 2024-04-23 | 54
| 2024-04-24 | 55
| 2024-04-25 | 56
| 2024-04-26 | 57
| 2024-04-27 | 58
| 2024-04-28 | 59
| 2024-04-29 | 60
| 2024-04-30 | 61
| 2024-05-01 | 62
| 2024-05-02 | 63
| 2024-05-03 | 64
| 2024-05-04 | 65
| 2024-05-05 | 66
| 2024-05-06 | 67
| 2024-05-07 | 68
| 2024-05-08 | 69
| 2024-05-09 | 70
| 2024-05-10 | 71
| 2024-05-11 | 72
| 2024-05-12 | 73
| 2024-05-13 | 74
| 2024-05-14 | 75
| 2024-05-15 | 76
| 2024-05-16 | 77
| 2024-05-17 | 78
| 2024-05-18 | 79
| 2024-05-19 | 80
| 2024-05-20 | 81
| 2024-05-21 | 82
| 2024-05-22 | 83
| 2024-05-23 | 84
| 2024-05-24 | 85
| 2024-05-25 | 86
| 2024-05-26 | 87
| 2024-05-27 | 88
| 2024-05-28 | 89
| 2024-05-29 | 90
| 2024-05-30 | 91
| 2024-05-31 | 92
| 2024-06-01 | 93
| 2024-06-02 | 94
| 2024-06-03 | 95
| 2024-06-04 | 96
| 2024-06-05 | 97
| 2024-06-06 | 98
| 2024-06-07 | 99
| 2024-06-08 | 100
| 2024-06-09 | 101
| 2024-06-10 | 102
| 2024-06-11 | 103
| 2024-06-12 | 104
| 2024-06-13 | 105
| 2024-06-14 | 106
| 2024-06-15 | 107
| 2024-06-16 | 108
| 2024-06-17 | 109
| 2024-06-18 | 110
| 2024-06-19 | 111
| 2024-06-20 | 112
| 2024-06-21 | 113
| 2024-06-22 | 114
| 2024-06-23 | 115
| 2024-06-24 | 116
| 2024-06-25 | 117
| 2024-06-26 | 118
| 2024-06-27 | 119
| 2024-06-28 | 120
| 2024-06-29 | 121
| 2024-06-30 | 122
| 2024-07-01 | 123
| 2024-07-02 | 124
| 2024-07-03 | 125
| 2024-07-04 | 126
| 2024-07-05 | 127
| 2024-07-06 | 128
| 2024-07-07 | 129
| 2024-07-08 | 130
| 2024-07-09 | 131
| 2024-07-10 | 132
| 2024-07-11 | 133
| 2024-07-12 | 134
| 2024-07-13 | 135
| 2024-07-14 | 136
| 2024-07-15 | 137
| 2024-07-16 | 138
| 2024-07-17 | 139
| 2024-07-18 | 140
| 2024-07-19 | 141
| 2024-07-20 | 142
| 2024-07-21 | 143
| 2024-07-22 | 144
| 2024-07-23 | 145
| 2024-07-24 | 146
| 2024-07-25 | 147
| 2024-07-26 | 148
| 2024-07-27 | 149
| 2024-07-28 | 150
| 2024-07-29 | 151
| 2024-07-30 | 152
| 2024-07-31 | 153
| 2024-08-01 | 154
| 2024-08-02 | 155
| 2024-08-03 | 156
| 2024-08-04 | 157
| 2024-08-05 | 158
| 2024-08-06 | 159
| 2024-08-07 | 160
| 2024-08-08 | 161
| 2024-08-09 | 162
| 2024-08-10 | 163
| 2024-08-11 | 164
| 2024-08-12 | 165
| 2024-08-13 | 166
| 2024-08-14 | 167
| 2024-08-15 | 168
| 2024-08-16 | 169
| 2024-08-17 | 170
| 2024-08-18 | 171
| 2024-08-19 | 172
| 2024-08-20 | 173
| 2024-08-21 | 174
| 2024-08-22 | 175
| 2024-08-23 | 176
| 2024-08-24 | 177
| 2024-08-25 | 178
| 2024-08-26 | 179
| 2024-08-27 | 180
| 2024-08-28 | 181
| 2024-08-29 | 182
| 2024-08-30 | 183
| 2024-08-31 | 184
| 2024-09-01 | 185
| 2024-09-02 | 186
| 2024-09-03 | 187
| 2024-09-04 | 188
| 2024-09-05 | 189
| 2024-09-06 | 190
| 2024-09-07 | 191
| 2024-09-08 | 192
| 2024-09-09 | 193
| 2024-09-10 | 194
| 2024-09-11 | 195
| 2024-09-12 | 196
| 2024-09-13 | 197
| 2024-09-14 | 198
| 2024-09-15 | 199
| 2024-09-16 | 200
| 2024-09-17 | 201
| 2024-09-18 | 202
| 2024-09-19 | 203
| 2024-09-20 | 204
| 2024-09-21 | 205
| 2024-09-22 | 206
| 2024-09-23 | 207
| 2024-09-24 | 208
| 2024-09-25 | 209
| 2024-09-26 | 210
| 2024-09-27 | 211
| 2024-09-28 | 212
| 2024-09-29 | 213
| 2024-09-30 | 214
| 2024-10-01 | 215
| 2024-10-02 | 216
| 2024-10-03 | 217
| 2024-10-04 | 218
| 2024-10-05 | 219
| 2024-10-06 | 220
| 2024-10-07 | 221
| 2024-10-08 | 222
| 2024-10-09 | 223
| 2024-10-10 | 224
| 2024-10-11 | 225
| 2024-10-12 | 226
| 2024-10-13 | 227
| 2024-10-14 | 228
| 2024-10-15 | 229
| 2024-10-16 | 230
| 2024-10-17 | 231
| 2024-10-18 | 232
| 2024-10-19 | 233
| 2024-10-20 | 234
| 2024-10-21 | 235
| 2024-10-22 | 236
| 2024-10-23 | 237
| 2024-10-24 | 238
| 2024-10-25 | 239
| 2024-10-26 | 240
| 2024-10-27 | 241
| 2024-10-28 | 242
| 2024-10-29 | 243
| 2024-10-30 | 244
| 2024-10-31 | 245
| 2024-11-01 | 246
| 2024-11-02 | 247
| 2024-11-03 | 248
| 2024-11-04 | 249
| 2024-11-05 | 250
| 2024-11-06 | 251
| 2024-11-07 | 252
| 2024-11-08 | 253
| 2024-11-09 | 254
| 2024-11-10 | 255
| 2024-11-11 | 256
| 2024-11-12 | 257
| 2024-11-13 | 258
| 2024-11-14 | 259
| 2024-11-15 | 260
| 2024-11-16 | 261
| 2024-11-17 | 262
| 2024-11-18 | 263
| 2024-11-19 | 264
| 2024-11-20 | 265
| 2024-11-21 | 266
| 2024-11-22 | 267
| 2024-11-23 | 268
| 2024-11-24 | 269
| 2024-11-25 | 270
| 2024-11-26 | 271
| 2024-11-27 | 272
| 2024-11-28 | 273
| 2024-11-29 | 274
| 2024-11-30 | 275
| 2024-12-01 | 276
| 2024-12-02 | 277
| 2024-12-03 | 278
| 2024-12-04 | 279
| 2024-12-05 | 280
| 2024-12-06 | 281
| 2024-12-07 | 282
| 2024-12-08 | 283
| 2024-12-09 | 284
| 2024-12-10 | 285
| 2024-12-11 | 286
| 2024-12-12 | 287
| 2024-12-13 | 288
| 2024-12-14 | 289
| 2024-12-15 | 290
| 2024-12-16 | 291
| 2024-12-17 | 292
| 2024-12-18 | 293
| 2024-12-19 | 294
| 2024-12-20 | 295
| 2024-12-21 | 296
| 2024-12-22 | 297
| 2024-12-23 | 298
| 2024-12-24 | 299
| 2024-12-25 | 300
| 2024-12-26 | 301
| 2024-12-27 | 302
| 2024-12-28 | 303
| 2024-12-29 | 304
| 2024-12-30 | 305
| 2024-12-31 | 306
2025 | 2025-01-01 | 307
| 2025-01-02 | 308
| 2025-01-03 | 309
| 2025-01-04 | 310
| 2025-01-05 | 311
| 2025-01-06 | 312
| 2025-01-07 | 313
| 2025-01-08 | 314
| 2025-01-09 | 315
| 2025-01-10 | 316
| 2025-01-11 | 317
| 2025-01-12 | 318
| 2025-01-13 | 319
| 2025-01-14 | 320
| 2025-01-15 | 321
| 2025-01-16 | 322
| 2025-01-17 | 323
| 2025-01-18 | 324
| 2025-01-19 | 325
| 2025-01-20 | 326
| 2025-01-21 | 327
| 2025-01-22 | 328
| 2025-01-23 | 329
| 2025-01-24 | 330
| 2025-01-25 | 331
| 2025-01-26 | 332
| 2025-01-27 | 333
| 2025-01-28 | 334
| 2025-01-29 | 335
| 2025-01-30 | 336
| 2025-01-31 | 337
| 2025-02-01 | 338
| 2025-02-02 | 339
| 2025-02-03 | 340
| 2025-02-04 | 341
| 2025-02-05 | 342
| 2025-02-06 | 343
| 2025-02-07 | 344
| 2025-02-08 | 345
| 2025-02-09 | 346
| 2025-02-10 | 347
| 2025-02-11 | 348
| 2025-02-12 | 349
| 2025-02-13 | 350
| 2025-02-14 | 351
| 2025-02-15 | 352
| 2025-02-16 | 353
| 2025-02-17 | 354
| 2025-02-18 | 355
| 2025-02-19 | 356
| 2025-02-20 | 357
| 2025-02-21 | 358
| 2025-02-22 | 359
| 2025-02-23 | 360
| 2025-02-24 | 361
| 2025-02-25 | 362
| 2025-02-26 | 363
| 2025-02-27 | 364
| 2025-02-28 | 365

## Building 6
Year | Date | Day | Temperature MIN [°C] | Temperature MAX [°C] | Temperature AVERAGE [°C] | RH MIN [%] | RH MAX [%] | RH AVERAGE [%] | CO2 MIN [ppm] | CO2 MAX [ppm] | CO2 AVERAGE [ppm]
2024 | 2024-03-01 | 1
| 2024-03-02 | 2
| 2024-03-03 | 3
| 2024-03-04 | 4
| 2024-03-05 | 5
| 2024-03-06 | 6
| 2024-03-07 | 7
| 2024-03-08 | 8
| 2024-03-09 | 9
| 2024-03-10 | 10
| 2024-03-11 | 11
| 2024-03-12 | 12
| 2024-03-13 | 13
| 2024-03-14 | 14
| 2024-03-15 | 15
| 2024-03-16 | 16
| 2024-03-17 | 17
| 2024-03-18 | 18
| 2024-03-19 | 19
| 2024-03-20 | 20
| 2024-03-21 | 21
| 2024-03-22 | 22
| 2024-03-23 | 23
| 2024-03-24 | 24
| 2024-03-25 | 25
| 2024-03-26 | 26
| 2024-03-27 | 27
| 2024-03-28 | 28
| 2024-03-29 | 29
| 2024-03-30 | 30
| 2024-03-31 | 31
| 2024-04-01 | 32
| 2024-04-02 | 33
| 2024-04-03 | 34
| 2024-04-04 | 35
| 2024-04-05 | 36
| 2024-04-06 | 37
| 2024-04-07 | 38
| 2024-04-08 | 39
| 2024-04-09 | 40
| 2024-04-10 | 41
| 2024-04-11 | 42
| 2024-04-12 | 43
| 2024-04-13 | 44
| 2024-04-14 | 45
| 2024-04-15 | 46
| 2024-04-16 | 47
| 2024-04-17 | 48
| 2024-04-18 | 49
| 2024-04-19 | 50
| 2024-04-20 | 51
| 2024-04-21 | 52
| 2024-04-22 | 53
| 2024-04-23 | 54
| 2024-04-24 | 55
| 2024-04-25 | 56
| 2024-04-26 | 57
| 2024-04-27 | 58
| 2024-04-28 | 59
| 2024-04-29 | 60
| 2024-04-30 | 61
| 2024-05-01 | 62
| 2024-05-02 | 63
| 2024-05-03 | 64
| 2024-05-04 | 65
| 2024-05-05 | 66
| 2024-05-06 | 67
| 2024-05-07 | 68
| 2024-05-08 | 69
| 2024-05-09 | 70
| 2024-05-10 | 71
| 2024-05-11 | 72
| 2024-05-12 | 73
| 2024-05-13 | 74
| 2024-05-14 | 75
| 2024-05-15 | 76
| 2024-05-16 | 77
| 2024-05-17 | 78
| 2024-05-18 | 79
| 2024-05-19 | 80
| 2024-05-20 | 81
| 2024-05-21 | 82
| 2024-05-22 | 83
| 2024-05-23 | 84
| 2024-05-24 | 85
| 2024-05-25 | 86
| 2024-05-26 | 87
| 2024-05-27 | 88
| 2024-05-28 | 89
| 2024-05-29 | 90
| 2024-05-30 | 91
| 2024-05-31 | 92
| 2024-06-01 | 93
| 2024-06-02 | 94
| 2024-06-03 | 95
| 2024-06-04 | 96
| 2024-06-05 | 97
| 2024-06-06 | 98
| 2024-06-07 | 99
| 2024-06-08 | 100
| 2024-06-09 | 101
| 2024-06-10 | 102
| 2024-06-11 | 103
| 2024-06-12 | 104
| 2024-06-13 | 105
| 2024-06-14 | 106
| 2024-06-15 | 107
| 2024-06-16 | 108
| 2024-06-17 | 109
| 2024-06-18 | 110
| 2024-06-19 | 111
| 2024-06-20 | 112
| 2024-06-21 | 113
| 2024-06-22 | 114
| 2024-06-23 | 115
| 2024-06-24 | 116
| 2024-06-25 | 117
| 2024-06-26 | 118
| 2024-06-27 | 119
| 2024-06-28 | 120
| 2024-06-29 | 121
| 2024-06-30 | 122
| 2024-07-01 | 123
| 2024-07-02 | 124
| 2024-07-03 | 125
| 2024-07-04 | 126
| 2024-07-05 | 127
| 2024-07-06 | 128
| 2024-07-07 | 129
| 2024-07-08 | 130
| 2024-07-09 | 131
| 2024-07-10 | 132
| 2024-07-11 | 133
| 2024-07-12 | 134
| 2024-07-13 | 135
| 2024-07-14 | 136
| 2024-07-15 | 137
| 2024-07-16 | 138
| 2024-07-17 | 139
| 2024-07-18 | 140
| 2024-07-19 | 141
| 2024-07-20 | 142
| 2024-07-21 | 143
| 2024-07-22 | 144
| 2024-07-23 | 145
| 2024-07-24 | 146
| 2024-07-25 | 147
| 2024-07-26 | 148
| 2024-07-27 | 149
| 2024-07-28 | 150
| 2024-07-29 | 151
| 2024-07-30 | 152
| 2024-07-31 | 153
| 2024-08-01 | 154
| 2024-08-02 | 155
| 2024-08-03 | 156
| 2024-08-04 | 157
| 2024-08-05 | 158
| 2024-08-06 | 159
| 2024-08-07 | 160
| 2024-08-08 | 161
| 2024-08-09 | 162
| 2024-08-10 | 163
| 2024-08-11 | 164
| 2024-08-12 | 165
| 2024-08-13 | 166
| 2024-08-14 | 167
| 2024-08-15 | 168
| 2024-08-16 | 169
| 2024-08-17 | 170
| 2024-08-18 | 171
| 2024-08-19 | 172
| 2024-08-20 | 173
| 2024-08-21 | 174
| 2024-08-22 | 175
| 2024-08-23 | 176
| 2024-08-24 | 177
| 2024-08-25 | 178
| 2024-08-26 | 179
| 2024-08-27 | 180
| 2024-08-28 | 181
| 2024-08-29 | 182
| 2024-08-30 | 183
| 2024-08-31 | 184
| 2024-09-01 | 185
| 2024-09-02 | 186
| 2024-09-03 | 187
| 2024-09-04 | 188
| 2024-09-05 | 189
| 2024-09-06 | 190
| 2024-09-07 | 191
| 2024-09-08 | 192
| 2024-09-09 | 193
| 2024-09-10 | 194
| 2024-09-11 | 195
| 2024-09-12 | 196
| 2024-09-13 | 197
| 2024-09-14 | 198
| 2024-09-15 | 199
| 2024-09-16 | 200
| 2024-09-17 | 201
| 2024-09-18 | 202
| 2024-09-19 | 203
| 2024-09-20 | 204
| 2024-09-21 | 205
| 2024-09-22 | 206
| 2024-09-23 | 207
| 2024-09-24 | 208
| 2024-09-25 | 209
| 2024-09-26 | 210
| 2024-09-27 | 211
| 2024-09-28 | 212
| 2024-09-29 | 213
| 2024-09-30 | 214
| 2024-10-01 | 215
| 2024-10-02 | 216
| 2024-10-03 | 217
| 2024-10-04 | 218
| 2024-10-05 | 219
| 2024-10-06 | 220
| 2024-10-07 | 221
| 2024-10-08 | 222
| 2024-10-09 | 223
| 2024-10-10 | 224
| 2024-10-11 | 225
| 2024-10-12 | 226
| 2024-10-13 | 227
| 2024-10-14 | 228
| 2024-10-15 | 229
| 2024-10-16 | 230
| 2024-10-17 | 231
| 2024-10-18 | 232
| 2024-10-19 | 233
| 2024-10-20 | 234
| 2024-10-21 | 235
| 2024-10-22 | 236
| 2024-10-23 | 237
| 2024-10-24 | 238
| 2024-10-25 | 239
| 2024-10-26 | 240
| 2024-10-27 | 241
| 2024-10-28 | 242
| 2024-10-29 | 243
| 2024-10-30 | 244
| 2024-10-31 | 245
| 2024-11-01 | 246
| 2024-11-02 | 247
| 2024-11-03 | 248
| 2024-11-04 | 249
| 2024-11-05 | 250
| 2024-11-06 | 251
| 2024-11-07 | 252
| 2024-11-08 | 253
| 2024-11-09 | 254
| 2024-11-10 | 255
| 2024-11-11 | 256
| 2024-11-12 | 257
| 2024-11-13 | 258
| 2024-11-14 | 259
| 2024-11-15 | 260
| 2024-11-16 | 261
| 2024-11-17 | 262
| 2024-11-18 | 263
| 2024-11-19 | 264
| 2024-11-20 | 265
| 2024-11-21 | 266
| 2024-11-22 | 267
| 2024-11-23 | 268
| 2024-11-24 | 269
| 2024-11-25 | 270
| 2024-11-26 | 271
| 2024-11-27 | 272
| 2024-11-28 | 273
| 2024-11-29 | 274
| 2024-11-30 | 275
| 2024-12-01 | 276
| 2024-12-02 | 277
| 2024-12-03 | 278
| 2024-12-04 | 279
| 2024-12-05 | 280
| 2024-12-06 | 281
| 2024-12-07 | 282
| 2024-12-08 | 283
| 2024-12-09 | 284
| 2024-12-10 | 285
| 2024-12-11 | 286
| 2024-12-12 | 287
| 2024-12-13 | 288
| 2024-12-14 | 289
| 2024-12-15 | 290
| 2024-12-16 | 291
| 2024-12-17 | 292
| 2024-12-18 | 293
| 2024-12-19 | 294
| 2024-12-20 | 295
| 2024-12-21 | 296
| 2024-12-22 | 297
| 2024-12-23 | 298
| 2024-12-24 | 299
| 2024-12-25 | 300
| 2024-12-26 | 301
| 2024-12-27 | 302
| 2024-12-28 | 303
| 2024-12-29 | 304
| 2024-12-30 | 305
| 2024-12-31 | 306
2025 | 2025-01-01 | 307
| 2025-01-02 | 308
| 2025-01-03 | 309
| 2025-01-04 | 310
| 2025-01-05 | 311
| 2025-01-06 | 312
| 2025-01-07 | 313
| 2025-01-08 | 314
| 2025-01-09 | 315
| 2025-01-10 | 316
| 2025-01-11 | 317
| 2025-01-12 | 318
| 2025-01-13 | 319
| 2025-01-14 | 320
| 2025-01-15 | 321
| 2025-01-16 | 322
| 2025-01-17 | 323
| 2025-01-18 | 324
| 2025-01-19 | 325
| 2025-01-20 | 326
| 2025-01-21 | 327
| 2025-01-22 | 328
| 2025-01-23 | 329
| 2025-01-24 | 330
| 2025-01-25 | 331
| 2025-01-26 | 332
| 2025-01-27 | 333
| 2025-01-28 | 334
| 2025-01-29 | 335
| 2025-01-30 | 336
| 2025-01-31 | 337
| 2025-02-01 | 338
| 2025-02-02 | 339
| 2025-02-03 | 340
| 2025-02-04 | 341
| 2025-02-05 | 342
| 2025-02-06 | 343
| 2025-02-07 | 344
| 2025-02-08 | 345
| 2025-02-09 | 346
| 2025-02-10 | 347
| 2025-02-11 | 348
| 2025-02-12 | 349
| 2025-02-13 | 350
| 2025-02-14 | 351
| 2025-02-15 | 352
| 2025-02-16 | 353
| 2025-02-17 | 354
| 2025-02-18 | 355
| 2025-02-19 | 356
| 2025-02-20 | 357
| 2025-02-21 | 358
| 2025-02-22 | 359
| 2025-02-23 | 360
| 2025-02-24 | 361
| 2025-02-25 | 362
| 2025-02-26 | 363
| 2025-02-27 | 364
| 2025-02-28 | 365